# FIRST PAGE

| Unit | Quantity executed (or supplied) since last certificate | Quantity executed (or supplied) upto date as per MB | S. No. | Item of Work supplies (Grouped under "sub-head" and "sub work" of estimate) | Rate | Upto date Amount | Amount Since previous bill (Total for each sub-head) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Each |  |  | E-01 | 6 A 3/5 pin shuttered socket | 107.0 | 428.0 | 428.0 |  |
| Each |  |  | E-02 | 6/16 A shuttered socket | 176.0 | 880.0 | 880.0 |  |
| Each |  |  | E-03 | Providing & Fixing of modular type lockable feature socket duly made out of unbreakable and fire retardant vergin poly carbonate with brass terminals and captive screws & silver alloy contact tip with IP-20 rating, including all as per pre approved by Engineer in charge, making connections, testing etc. as required. For additional technical parameters of product / work refer Annexure 'A' attached with this BSR | 345.0 | 1725.0 | 1725.0 |  |
| Each |  |  | E-04 | 6 A 3/5 pin shuttered socket | 107.0 | 428.0 | 428.0 |  |
| Each |  |  | E-05 | 6/16 A shuttered socket | 176.0 | 880.0 | 880.0 |  |
|  | Grand Total Rs. |  | 4341.0 | 4341.0 |  |  |  |  |
|  | Tender Premium @ 0.00% | 0.00% | 0.0 | 0.0 |  |  |  |  |
| Sum of Extra Items (including Tender Premium): NIL |  |  |  |  |  |  |  |  |
|  | Payable Amount Rs. |  | 4341.0 | 4341.0 |  |  |  |  |
|  | Less Amount Paid vide Last Bill Rs. |  | 0.00 | 0.00 |  |  |  |  |
|  | Net Payable Amount Rs. |  | 4341.0 | 4341.0 |  |  |  |  |